## Equipment List_m
밸브리스트
Tag No. | Total Quantity | Size | Service | Location | USE | Valve Type | Valve Style | Operation | Actuator Type | Loss of signal | Loss of Air | Comments
BFV-1001 | 1 | 300A | RAW | RAW WATER INFLUENT PIPE | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-1002 | 1 | 300A | RAW | RAW WATER INFLUENT PIPE | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-1003 | 1 | 300A | RAW | RAW WATER INFLUENT PIPE | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-1004A/B | 2 | 200A | WASTEWATER | 협잡물처리기 배출 배관 | 협잡물처리기 처리수 차단 | BUTTERFLY | FLANGED | - | MANUAL
BFV-1101A~D | 4 | 150A | SLUDGE | 슬러지반송배관 (유량조정조 노즐위) | 슬러지반송 차단 | BUTTERFLY | FLANGED | - | MANUAL
BFV-1005A~F | 6 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | 생물반응조 유입 차단 | BUTTERFLY | FLANGED | - | MANUAL
BFV-1006A~D | 4 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | 예비 펌프 사용 | BUTTERFLY | FLANGED | - | MANUAL
BFV-1007A~D | 4 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-1008A~D | 4 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-1009A~D | 4 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-2101A/B | 2 | 150A | SLUDGE | 슬러지 반송펌프 배관 | 슬러지 배출 차단 | BUTTERFLY | FLANGED | - | MANUAL
BFV-2102A~D | 4 | 80A | SLUDGE | 슬러지 인발펌프 배관 | 슬러지 배출 차단 | BUTTERFLY | FLANGED | - | MANUAL
BFV-2202A~F | 6 | 150A | PUREAIR | 송풍기 유입배관 | FLOWMETER BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-3001A/B | 2 | 200A | TREATEDWATER | 처리수 배출배관 | ELECTRIC VALVE BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-3002A/B | 2 | 200A | TREATEDWATER | 처리수 배출배관 | ELECTRIC VALVE BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BFV-3003A/B | 2 | 200A | TREATEDWATER | 처리수 배출배관 | ELECTRIC VALVE BY PASS | BUTTERFLY | FLANGED | - | MANUAL
BV-1001A/B | 2 | 32A | MUNICIPAL WATER | 협잡물처리기 세척수 배관 | WASHING WATER SUPPLY | BALL | THREADED | - | MANUAL
BV-1001A~C | 2 | 15A | WASTEWATER | 생물반응조 유입펌프 배관 | PG 계측기 유입 차단 | BALL | THREADED | - | MANUAL
BV-2101 | 1 | 15A | SLUDGE | 슬러지 반송펌프 배관 | PG 계측기 유입 차단 | BALL | THREADED | - | MANUAL
BV-2102A/B | 2 | 15A | SLUDGE | 슬러지 인발펌프 배관 | PG 계측기 유입 차단 | BALL | THREADED | - | MANUAL
CV-1001A~F | 6 | 200A | WASTEWATER | 생물반응조 유입펌프 배관 | 생물반응 유입수 역류방지 | CHECK | FLANGED | - | -
CV-2101A/B | 2 | 150A | SLUDGE | 슬러지 반송펌프 배관 | 슬러지 반송 역류방지 | CHECK | FLANGED | - | -
CV-2102A~D | 4 | 80A | SLUDGE | 슬러지 인발펌프 배관 | 슬러지 인발 역류방지 | CHECK | FLANGED | - | -
GV-2301A~F | 6 | 50A | SCUM | 상등수 배출장치 스컴 배출배관 | 스컴 배출 차단 밸브 | GATE | FLANGED | - | -
GV-2401A~F | 6 | 200A | TREATEDWATER | 상등수 배출장치 처리수 배출배관 | 처리수 배출 차단 밸브 | GATE | FLANGED | - | -
M-101A/B | 2 | 200A | RAW | 협잡물처리기 유입배관 | 협잡물처리기 유입 차단 | BUTTERFLY | FLANGED | MODULATING | MOTOR
M-207A/B | 2 | 300A | TREATEDWATER | 상등수 배출장치 처리수 배출배관 | 처리수 배출 차단 밸브 | BUTTERFLY | FLANGED | MODULATING | MOTOR
∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙
∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙ | ∙